## 1PointCalibration
1 POINT CALIBRATION FOR RELATIVE HUMIDITY (RH) AT OR NEAR 25°C
Offset Calculated as: Reference RH - Observed RH
Salt | Reference value for RH (%) | Observed value for RH (%) | Offset
MgCl2 | 32.8 | 36 | -3.2
NaCl | 75 | 78 | -3
Corrected Value Caluclated as Raw RH + Offset Value
Time (hours) | Raw RH (%) | Offset value | Corrected RH (%)
1 | 80 | -3 | 77
2 | 55 | -3 | 52
3 | 45 | -3 | 42
4 | 38 | -3 | 35
5 | 30 | -3 | 27

## 2PointCalibration
2 POINT CALIBRATION FOR RELATIVE HUMIDITY (RH) AT OR NEAR 25°C
Offset Calculated as: Reference value - Observed value
Salt | Reference value for RH (%) | Observed value for RH (%) | Offset
MgCl2 | 33 | 36 | -3
NaCl | 75 | 79 | -4
Slope = (High Reference RH - Low Reference RH)/(Observed RH with High Reference Salt - Observed RH with Low Reference Salt)
Thus, with the above salts and observed values:
Slope = (75 - 33)/(79 - 36)
Slope = | 0.97674
Intercept = Low Reference RH - (Slope x Observed RH with Low Reference Salt)
Thus, with the above salts and observed values:
Intercept = 33 - (0.9767 x 36)
Intercept = | -2.1628
Time (hours) | Raw RH (%) | Slope | Intercept | Corrected value = (Slope x Raw RH Value) + Intercept
1 | 80 | 0.97674 | -2.1628 | 75.9767
2 | 55 | 0.97674 | -2.1628 | 51.5581
3 | 45 | 0.97674 | -2.1628 | 41.7907
4 | 38 | 0.97674 | -2.1628 | 34.9535
5 | 30 | 0.97674 | -2.1628 | 27.1395